Customer	:	

Person to contact :	

Address	:	

			

Tel.	:	

Fax	:	

E-mail	:

# Culture Vessel

| Vessel type: |  |  |
| --- | --- | --- |
| Stirred tank |  | ( |
| Air lift |  | ( |
| Vessel volume: |  |  |
| Total volume, please specify | L |  |
| Working volume, please specify | L |  |
| Height : diameter ratio: |  |  |
| Standard: microbial | 3 : 1 | ( |
| Cell culture | 2 : 1 | ( |
| Air lift, please specify |  | ( |
| Vessel material |  |  |
| Standard: AISI 316 L product contacted AISI 304 other parts |  | ( |
| Optional: product contacted, please specify other parts, please specify |  | ( |
| Surface finish inside: |  |  |
| Ra < 0,8 µm |  | ( |
| Ra < 0,5 µm |  | ( |
| others, please specify |  | ( |
| electropolished |  | ( |
| Surface finish outside |  |  |
| Standard: 70/110 glass beads blasted, pickled |  | ( |
| Ra < 1,0 µm, pickled |  | ( |
| others, please specify |  | ( |
| electropolished |  | ( |
| Vessel insulation |  |  |
| Standard: no insulation |  | ( |
| chlorine-free mineral wool insulation at cylindrical part with welded cover made of AISI 304 |  | ( |
| additionally in bottom |  | ( |

| Vessel support: |  |  |
| --- | --- | --- |
| Standard: free standing on legs |  | ( |
| others, please specify |  | ( |
| Design conditions |  |  |
| vessel and jacket 150 °C, -1 / 3 barg |  | ( |
| others, please specify |  | ( |
| Vessel approval |  |  |
| Standard: German TÜV |  | ( |
| others, please specify |  | ( |
| Stirrer system |  |  |
| bottom drive |  |  |
| top drive |  |  |
| Impeller type |  |  |
| Standard: Rushton turbines |  | ( |
| pitched blade impeller |  | ( |
| 3-blade segment impeller |  | ( |
|  |  | ( |
| Sealing system |  |  |
| single mechanical seal |  | ( |
| double mechancial seal |  | ( |
| magnetic coupling |  | ( |
| Pressure relief device |  |  |
| sterile design pressure relief valve |  | ( |
| rupture disk |  | ( |
| Mechanical foam breaker |  | ( |
| CIP spray ball |  | ( |
| Containment level, please specify |  | ( |

# Aeration System

| Gas inlet |  |  |
| --- | --- | --- |
| Process: microbial aerob |  | ( |
| microbial anaerob |  | ( |
| cell culture |  | ( |
| Gas mix system for Air, O2, N2, CO2 |  | ( |
| Sterile filter |  |  |
| Standard: 1 sterile filter, membrane type 0,2 µm |  | ( |
| others please specify |  | ( |
| Gas outlet |  |  |
| Exhaust gas condenser |  | ( |
| Exhaust gas heater |  | ( |
| Sterile filter |  |  |
| Standard: 1 sterile filter, membrane type 0,2 µm |  | ( |
| 1 sterile filter, depth type |  | ( |
| others please specify |  | ( |

# Temperature Control / Sterilization System

| Open temperature control system |  | ( |
| --- | --- | --- |
| Closed temperature control system for cooling water recirculation |  | ( |
| Chilled water connection |  | ( |
| Sterilization |  |  |
| Empty vessel with direct steam admission into vessel |  | ( |
| Filled vessel, heating via jacket |  | ( |
| Mode of Sterilization |  |  |
| Manual |  | ( |
| Automatic |  | ( |

# Addition Vessels

| Acid, please specify volume |  | ( |
| --- | --- | --- |
| Alkali, please specify volume |  | ( |
| Antifoam, please specify volume |  | ( |
| Substrate, please specify volume and feed rate |  | ( |
| Mode of sterilization |  |  |
| In autoclave |  | ( |
| In situ |  | ( |
| Mode of feeding /dosing |  |  |
| peristaltic pumps, pulsed |  | ( |
| peristaltic pump, continuously for media |  | ( |
| overpressure, via pulsed valve |  | ( |

# Measurement and Control System

| Parameters measured and controlled please mark measurement (M) or control ( C) | (M) | ( C) |
| --- | --- | --- |
| temperature | ( | ( |
| stirrer speed | ( | ( |
| pH | ( | ( |
| PO2 | ( | ( |
| foam | ( | ( |
| pressure | ( | ( |
| level | ( | ( |
| weight | ( | ( |
| redox | ( |  |
| optical density | ( | ( |
| exhaust gas composition (O2, CO2) | ( |  |
| liquids flow range (please specify flow range) | ( | ( |
| Extensions: |  |  |
| chart recorder |  | ( |
| printer |  | ( |

# Supervisory Control System

| Supervisory Control System MFCS / win for data recording and data management |  | ( |
| --- | --- | --- |
| With computer |  | ( |
| Without computer |  | ( |

# Process Background

| Type of culture |  |  |
| --- | --- | --- |
| Microbial |  | ( |
| Fungi |  | ( |
| Animal cell culture |  | ( |
| Plant cell culture |  | ( |
| Others, please specify |  | ( |
| Mode of Operation |  |  |
| Batch |  | ( |
| Fed batch |  | ( |
| Continuous |  | ( |
| Perfusion (cell culture) |  | ( |
| Other information |  |  |
| Please specify |  |  |

# Peripheral Components

| Media Preparation Tank |  | ( |
| --- | --- | --- |
| Working volume, please specify |  |  |
| Total volume, please specify |  |  |
| Sterile operation |  | ( |
| Transfer |  |  |
| Pump |  | ( |
| Overpressure |  | ( |

| Media Holding Tanks (please specify n°) |  | ( |
| --- | --- | --- |
| Working volume, please specify |  | ( |
| Total volume, please specify |  | ( |
| Sterile operation |  | ( |
| Transfer |  |  |
| Pump |  | ( |
| Overpressure |  | ( |
| Harvest Tanks (please specify n°) |  | ( |
| Working volume, please specify |  | ( |
| Total volume, please specify |  | ( |
| Sterile operation |  | ( |
| Transfer |  |  |
| Pump |  | ( |
| Overpressure |  | ( |
| Downstream Equipment |  |  |
| Continuous centrifuge |  | ( |
| Batch centrifuge |  | ( |
| Microfiltration |  | ( |
| Ultrafiltration |  | ( |
| Sterile filtration |  | ( |
| Homogenizer |  | ( |
| Bead mill |  | ( |
| Others, please specify |  | ( |
| Other Components |  |  |
| Please specify |  | ( |

# Conditions at Customer’s Site

| Utilities available (please specify temperature / pressure |  |  |
| --- | --- | --- |
| Air |  | ( |
| Water |  | ( |
| Plant steam |  | ( |
| Clean steam |  | ( |
| Electricity (please specify voltage, current, phases) |  | ( |

| Space available and restrictions |  |  |
| --- | --- | --- |
| Room height, please specify |  |  |
| Floor area, please specify |  |  |
| Smallest door to get through, please specify |  |  |
| Other restrictions, please specify |  |  |

# Commercial Background

| Request for |  |  |
| --- | --- | --- |
| Budget price |  | ( |
| Fixed price |  | ( |
| Expected date of order, please specify |  |  |
| Expected delivery time, please specify |  |  |
| Competitors, please specify |  |  |